# Standard Operating Procedure SOP-QA-011: Document Control and Change Management

Domain: Life Sciences / Quality SOP — Synthetic document generated for demo purposes.

# Purpose and Scope

This SOP establishes the process for creating, reviewing, approving, distributing, and revising controlled quality documents within the laboratory quality management system.

# Document Approval

Every controlled document requires review and signature by the document originator, a subject matter expert, and the quality assurance manager before it becomes effective.

A controlled document may not be released for use until it has been assigned a unique document number and entered into the master document log.

# Periodic Review

Every controlled document must undergo periodic review at least once every 24 months, even if no content changes are proposed, to confirm continued accuracy and relevance.

# Change Control

Any proposed change to a controlled document must be submitted through a change control request and evaluated for impact on validated processes before implementation.

A change classified as major, meaning it affects a validated method or a critical process parameter, requires re-validation and approval from the quality assurance manager and the laboratory director prior to implementation.

# Training

All personnel affected by a revised controlled document must complete documented training on the revision within 10 business days of the document's effective date.

# Obsolete Documents

Superseded versions of a controlled document must be removed from active use areas immediately upon the new version's effective date and archived for a minimum of 10 years.

An obsolete document retained for reference must be clearly stamped or watermarked as OBSOLETE and stored separately from current controlled documents.

# Electronic Records

Electronic controlled documents must be maintained in a validated document management system with audit trail functionality that records the identity of the user, the date, and the nature of each change.

# Deviations

Any deviation from an approved controlled document must be documented on a deviation report within 24 hours of discovery and reviewed by the quality assurance manager.

# Roles and Responsibilities

The quality assurance manager holds final authority to approve, reject, or place on hold any controlled document within the quality management system.